**CHIRAL APPLICATION NOTE**

**Sample name**: (R)-1-benzhydryl-3-(1-((2-butyl-4-chloro-1-((2’-(1-trityl-1H-tetrazol-5-yl)-[1,1’-biphenyl]-4-yl)methyl)-1H-imidazol-5-yl)methoxy)but-3-en-2-yl)azetidin-3-ol

**Chromatogram:** **Structure:**

**Run Conditions:**

Column: NicoShell (15cmx3.0mm, 2.7µm)

Mobile phase: 10/10/80 MeOH/EtOH/Hexane

Flow Rate: 0.3 mL/min

Temperature: Ambient (23 °C)

Injection Volume: 0.3 µL

Detection: UV 237 nm

Retention (min): 9.189/10.011 (Peak1/Peak 2)

**Resolution:** 1.88